PowerIT Vacuum Cast Coil Dry Type 
Distribution Transformers

Pt 100 sensor

Technical features:

RTD Pt100 1 DIN sensor

Round type in SS ( 3.5 x 40 mm

Cable “Trecciola” 3 x 26 AWG in FEP

Electrical strength: 3000 Vac – 60”

IEC751

# Text boxes



Industrial IT Enabled products from ABB are the building blocks for greater productivity, featuring all the tools necessary for lifecycle product support in consistent electronic form.